## Sheet0
Stakeholder's written questions during the webinar | ENTSO-E's answer (given either verbally during the webinar or in written way)
Do you envisage to publish the models in open source? This would be very helpul for market parties to better understand the results. | Thank you for the question. We are not planning to publish the models for the moment. As noted, there are some data that are confidential/sensitive for the provider and ENTSO-E is not in the position to publish them. We will strive though to present, as much as possible, a detailed description of the models to allow third parties to build their own models.
If you take the TYNDP as a basis, will you perform a sensitivity on interconnection level ? TYNDP is known to be usually too optimistic on network development... | For the moment there is no plan within the ERAA to perform a sensitivity on interconnections. However, sensitivities in general might be decided explicitly for each version of the ERAA, depending on their anticipated importance for that timing.
Considering the huge uncertainty around the addition of new assets based on their estimated economic viability, will there be a sensitivity with just asset retirements/mothballings, without new investments ? | We do not plan to perform such a sensitivity focusing only on the decommissioning of assets. This would not be in line with the Electricity Regulation and would not represent the expected market reaction.
Could you make explicit which criterion you will use to assess economic viability? A NPV on th ERAA time horizon? Will you include a terminal value in case the technical lifetime of the asset goes beyond this horizon? | (answered verbally) The whole economic lifetime of assets will be considered. Together with the ERAA, we will publish assumptions that will allow for a feedback from stakeholders.
For the ERAA, how will capacity revenues (for countries with CRM) be taken into account in the economic viability check? Are these revenues endogenously calculated by the model? | (answered verbally) Revenues will be included exogeneous if a robust revenue mechanism is available. It will be important to get this information on revenue mechanisms from national parties. Assumptions used for endogenous calculations will be shared with stakeholders and tested for continuous improvements between each assessment release.
Could you explain what the "Direct Worth" methodology is? | The Direct Worth methodology asks the interviewee which costs he or she incurs when a power outage occurs. For example, interviewees from industry have to precise what their costs are in terms of lost production, restart costs, damage costs, ... This gives more information about the costs incurred by power cuts than asking only about their WTA/WTP.
Good morning, will you publish the slides of this webinar (or send us by email)? thank you | The slides of the webinar will be published on our website. The webpage in question will be ENTSO-E's consultation.
In the European Framework 7 research programme SESAME, a uniform tool to calculate the VOLL for all MS (NUTS 2 level) was proposed. Can this be used? Why (not)? | Are you referring to the study commissioned by ACER in 2018 and made by CEPA? If yes, they used a macro-economic approach which has the advantage of being easily implemented, but it does not consider all the socio-economic costs. For example, restart costs are not considered though they can be significant in some industries, loss of comfort is not taken into account for domestic consumers, etc. The Stated Choice methodology proposed by ENTSO-E is more complete and is line with CEER guidelines issued in 2010 and is applied already in some Member States.
Regarding economic viability: theoretically an energy only market should ensure a capacity which leads to the socially optimal LOLE (your "target LOLE"). If it does not, this will be because of modelling choices made in the EVC (e.g. risk aversion, ignoring revenues from ancilliary services). What do you expect will have the most impact on the final calculated adequacy indicators? | We will run tests to identify this point. This will be stepwise implemented, starting with a proof of concept phase, and including consultation of stakeholders.
Comment from Matti Koivisto (Researcher, DTU Wind Energy): We are working on including climate change impacts to our wind and solar generation simulations. We are happy to discuss how to include this to the ENTSO-E PECD database (we are the provider of wind and solar generation time series for the PECD database). | Thank you, Matti, for your comment. Indeed, we are always open to discuss improvements in our methodologies and datasets towards the target methodology with the relevant experts. We will further develop and procure extensions of our climate data-base after carefully drafting the requirements. The process towards the acquisition of new data products will follow a public and transparent tender and acquisition process considering a wide variety of offers from R&D institutes that comply with our requirements and show a proven track record of excellence in the field under discussion.
Strategic reserves influence the prices. They should be priced at VoLL. How are you going to price them in the model? | (Answered verbally) Strategic reserves are not priced as they are outside the market. The decision to activate strategic reserves is only made after the DA and ID market have been cleared, a scarcity situation is expected and only FCR and FRR are remaining.
How are you going to consider risk-aversion in the model? Higher hurdle rates? | (Answered verbally) Risk can be included in the WACC. However, not all risk may be captured by WACC. Feasibility will need to be checked during the ERAA implementation.
So, are you still planning to consider 35 years of historical data? Or will you reduce the number of years considered? Why? | Thank you, Christo. The shift towards a new way of modelling future climate evolution may indeed go beyond the current logic of using 35 historical climate years. However, in the short term the complete climate database will most probably be used.
Given that ENTSO-E/TSOs aren't climate scientists, how are you planning to assess the effects of the changing climate for the assessment? | ENTSO-E and its TSO members are always collaborating with universities, researchers, experts as well as consultants in order to guarantee the consideration of latest state-of-the-art knowledge in this domain.
This is wrong that strategic reserves won't influence the prices. They will and they should, e.g. look at the GB scheme for example from 2014 - 2016. From the EU Regulation: 2.The design of strategic reserves shall meet the following requirements: (b) during imbalance settlement periods where resources in the strategic reserve are dispatched, imbalances in the market are to be settled at least at the value of lost load or at a higher value than the intraday technical price limit as referred in Article 10(1), whichever is higher; | (answered verbally) The methodology will capture both the intraday technical price limit and the value of lost load. Beyond this, a decision to activate strategic reserves can also be made when the system and resources are operating at their margin and deficits are still expected.
Is it enough to consider day-ahead market coupling (and its clearing) when answering the question, wheter loss of load will appear. or should (market-based) processes after day-market coupling be also considered? | Our methodology is assuming perfect foresight (e.g. no forecast error of RES or demand. Regarding balancing, Frequency Containment Reserves and Frequency Restoration Reserves are not used for adequacy, but kept for balancing purpose. But all other market-based resources are considered, whether they could in realitybe triggered in long term, day ahead or intraday market.
will the Scenario without CRM considers ancillary services revenues for economic viability check? in this case, will the hypothesys on ancillary services demand and the expected prices be published for consultation for each EERA? | (answered verbally) Revenues will be included if a robust revenue mechanism is available. We will publish the assumptions data to the highest possible granularity, while complying with data ownership and confidentiality constraints.
regarding revised LOLE formula showed in the last slide, how storage technologies reduce CONE (dC/dQ)? could you clarify the rationale for reduction? thanks | (answered verbally) The goal is to consider the marginal cost of adding 1 additional MW for assets that are price-sensitive to the quantity delivered.
Is there a de-rating methodology related to Energy Storage and DSR as these are energy limited resources? | While in the modelling of storage and DSR, both power and energy constraints are considered, it is currently not assessed with a de-rating methodology.
There should be a specific methodology for storage as well, is there a special task force in charge of this? | There is currently no specific task force working only on storage, while this topic is covered in other working groups or task forces.
Do you consider battery degradation year on year or augmentation (replacement costs) based on the average C-rate at which the batteries are discharged? | (answered verbally) Parameters will be consulted. We need inputs from stakeholders and battery owners to model the expected behavior.
What is the process to get a section focused on storage similar to that currently focused on DSR? | The sectioning of the methodology is designed by the ENTSO-E Task Force and based on the feedback and proposals received by ACER.
Terna (Italian TSO) has data on battery degradation, would that information be valid? The risk of leaving this responsability to the project developer is that information is not accurate due to conflicts of interest. | The publication of assumptions with a review by a large and various panel of stakeholders aims to keep neutrality and avoid any conflict of interest.
How the investment decisions could be simulated basing on the minimization of overall system cost? | Thank you for the question. It will be under an integrated optimization approach (investment model) taking into consideration all costs based on transparent assumptions. We refer to Article 6 of the draft methodology for more information.
Why the methodology does no assess adequacy considering only the existing capacity and the investments already planned/approved making no assumption on investment decisions? | Because it would not comply with the Electricity Regulation and would be over-conservative.
How will risk-aversion be included in the methodology? Who will be considered risk-averse? | (Answered verbally) Risk can be included in the WACC. However, not all risk may be captured by WACC. Feasibility will need to be checked during the ERAA implementation.
Risk aversion concerning a power plant's economic viability may also be affected by that plant's position in a generator's portfolio. Are you considering to incorporate this perspective into risk aversion considerations as well? | It will be implemented stepwise based on generator fuel technology. We do not plan to consider analysing investors portfolios.
Will DSR in its broad definition include energy efficiency or should it be restrained to demand response? | Energy efficiency and its impact on demand is already modelled in the demand tool used by ENTSO-E for the Mid-term Adequacy Forecast (MAF). This will be the case in the ERAA as well.
Also in HiLo scenarios all (non-RR) balancing reserves will be excluded? | ENTSO-E's view is that balancing reserves should not be used for Adequacy. Therefore, only RR are considered as available to cover adequacy needs in the ERAA. FCR and FRR will be subtracted from available generation.
Slide 10 SR will be considered in the secnario with CMs, "whenever feasible and under a specific framework" => why would considering them not be feasible? And which would be the specific framework? | (Answered verbally) This relates to possible specific restrictions in national regulatory frameworks. This could be a restriction, for instance, on whether or not Strategic Reserves are allowed to participate in cross-border Capacity Mechanisms.
Slide 13: Risk aversion will be considered: risk aversion from the point of view of which actors? TSOs? Producers? BRPs? Risk aversion between different actors can apply in opposite directions. More clarification is needed on this point | (Answered verbally) The model will propose different investment decisions on various assets (DSR, conventional power plant, etc.). Risk aims to represent the investor's behaviour.
Will the risk aversion measure used for the economic viability test consider the broader long term risks investors face (associated with uncertainties in policies, resource costs etc), in addition to just the volatility of inframarginal rent that occurs due to random outages, demand, and RES infeed? If so, how would this be carried out? | (answered verbally) We start working on this risk aversion implementation, using latest literature review. This will be stepwise implemented, starting with tests and proof of concept phase. Stakeholders will be kept informed and consulted.