# First amendment of the Methodology

# for the regional sizing of reserve capacity

in accordance with Article 3(2) of the methodology for the regional sizing of reserve capacity, as defined in accordance with Article 37(1)(j) of the Regulation (EU) 2019/943 of the European Parliament and of the Council of 5 June 2019 on the internal market for electricity

01 December 2025

| Purpose: | ☐ methodology draft | ☒ for public consultation |
| --- | --- | --- |
|  | ☐ for ACER approval | ☐ for final publication |
| Status: | ☒ draft | ☐ final |
| TSO approval: | ☐ for approval | ☐ approved |
| NRA approval: | ☐ outstanding | ☐ approved |

ENTSO-E, taking into account the following:

# Whereas

- This amendment proposal provides an amendment to Annex I of ACER Decision 12-2023 of 19 July 2023 on the Methodology for Regional Sizing of Reserve Capacity (hereafter referred to as the “RCC Sizing Methodology”) in line with Article 3(2) of the RCC Sizing Methodology.

- Following Article 3(2) of the RCC Sizing Methodology, the relevant TSOs (TSOs of the SOR), supported by relevant RCC(s), shall determine in a coordinated manner the parameters referred to in the RCC Sizing methodology. Following this coordination ENTSO-E shall develop and submit an amendment to the RCC Sizing Methodology in accordance with Article 27 of the Electricity Regulation, proposing the parameters’ values included in an Annex. This amendment complements the RCC Sizing Methodology approved by ACER Decision 12/2023 and shall be read in conjunction with that Decision. Therefore, this proposal for amendment includes per SOR the definition of:

  - the time period considered for the historical records related to in Article 4(4)(a) of the RCC Sizing Methodology; and

  - the levels X, Y included in Article 4(4) of the RCC Sizing Methodology.

- The parameters regarding the time-period considered for the historical records vary between SORs from 1 year to 2 years. For each SOR, the choice of parameters is affected by different factors, such as accounting for a minimum period necessary to exclude irrelevant data, mitigation of out-of-range years, or the capture of seasonal effects or imbalance patterns.

- The parameters regarding the levels X and Y also vary between SORs, with X and Y levels between  99.50% and 100%. For each SOR, the choice of parameters is affected by different factors, such as the size of the SOR, reflection of the preferences of the TSOs of a particular SOR, or specific operational characteristics of the SOR.

- This amendment proposal also proposes adjusting the implementation timeline under Article 7(1) of the RCC Sizing Methodology as approved by ACER Decision 12-2023, considering that a fixed deadline for implementing the RCC task ‘regional sizing of reserve capacity’ is not suitable in light of the preconditions for implementing this task. Namely, the task depends on the conclusion of sharing agreements between LFC blocks in accordance with Article 157(2)(j) and (k) and 160(4) and (5) of Regulation (EU) 2017/1485 establishing a guideline on system operation (hereafter referred to as “SOGL”). These sharing agreements can be implemented at the discretion of TSOs of the concerned LFC blocks, meaning that they are characterised by differing implementation timelines. To reflect this variety in the provisions on implementation, an amendment of Article 7(1) is required.

SUBMITS THE FOLLOWING PROPOSAL FOR AMENDMENT of the Methodology for the regional sizing of reserve capacity TO ACER

# Article 1
Definition of the time period considered for the historical records related to in Article 4(4)(a) of the RCC Sizing Methodology

A new Annex I defining per SOR the time period considered for the historical records related to in Article 4(4)(a) of the RCC Sizing Methodology shall be added and read accordingly:

« Annex I: Definition of the time period considered for the historical records related to in Article 4(4)(a) of the RCC Sizing Methodology 

1) The time period considered per SOR for the historical records referred to in Article 4(4)(a) of this Methodology:

| Baltic SOR | 1 year |
| --- | --- |
| Nordic SOR | 1 year |
| CE SOR | 2 years |
| SEE SOR | 1 year |
| SWE SOR | 1 year |

2) If the relevant TSOs deem it necessary to apply different time periods per SOR, they shall determine the new time periods in a coordinated manner, supported by the relevant RCC(s). Following this coordination, ENTSO-E shall develop and submit an amendment to this methodology in accordance with Article 27 of the Electricity Regulation »

# Article 2
Definition of the levels X, Y included in Article 4(4) of the RCC Sizing Methodology

A new Annex II defining per SOR the levels X, Y included in Article 4(4) of the RCC Sizing Methodology shall be added and read accordingly:

« Annex II: Definition of the levels X, Y included in Article 4(4) of the RCC Sizing Methodology

- The levels X, Y included in Article 4(4) of this Methodology shall be as follows:

- Baltic SOR

  - X shall be 99.90%

  - Y shall be 99.90%

- Nordic SOR:

  - X shall be 99.5 %

  - Y shall be 99.5 %

- CE SOR:

  - X shall be 100%.

  - Y shall be 100%.

- SEE SOR:

  - X shall be 99.99%

  - Y shall be 99.99%

- SWE SOR:

  - X shall be 99.99%

  - Y shall be 99.99%

2) If the relevant TSOs deem it necessary to apply different values of X, Y per SOR, they shall determine the new values in a coordinated manner, supported by the relevant RCC(s). Following this coordination, ENTSO-E shall develop and submit an amendment to this methodology in accordance with Article 27 of the Electricity Regulation. »

# Article 3

# Amendments to Article 7 of the Methodology for the Regional Sizing of Reserve Capacity

- Article 7, paragraph 1 of the Methodology for the Regional Sizing of Reserve Capacity shall be replaced with the following text:

« By 1 July 2026, each RCC shall implement and make operational the process to facilitate TSOs in determining the minimum reserve capacity at SOR level, referred to in Article 4 of this methodology.

Each RCC shall perform short-term assessment of availability of sharing amounts, referred to in Article 5 of this methodology within 36 months of the notification of the relevant RCC(s) by the TSOs within each SOR of their intention to establish and apply sharing agreements  in accordance with Articles 157(2)(j) and (k) of the SOGL and 160(4) and (5) of the SOGL between the relevant LFC blocks, and in line with their progressive implementation in operational practice. For SORs where a sharing agreement in accordance with Articles 157(2)(j) and (k) of the SOGL and Articles 160(4) and (5) of the SOGL between the relevant LFC blocks already exists, each RCC shall implement and make operational the process to facilitate TSOs, on request of  a control capability receiving TSO or control capability providing TSO of the SOR in determining their required reserve capacity on LFC block level by performing the sub-task ‘short-term assessment’ by [date 18 months after the approval of the first amendment to the Methodology for the Regional Sizing of Reserve Capacity adopted by ACER]. Accordingly, all TSOs of each SOR shall set up the necessary procedures for data provision to the process and for processing the respective RCC's recommendations, in accordance with this implementation timeline. »

# Article 4
Language

1. The reference language for this amendment to the RCC Sizing Methodology shall be English.

2. For the avoidance of doubt, where TSOs need to translate this amendment to RCC Sizing Methodology into their national language(s), in the event of inconsistencies between the English version published by ACER and any version in another language, the relevant TSOs or RCCs shall, in accordance with national legislation, provide the relevant national regulatory authorities with an updated translation of this methodology.