## Sheet0
Q&A Report: | Webinar on Risk Preparedness Methodologies
Webinar
Webinar on Risk Preparedness Methodologies (5 September 2019)
Question Asked | Answer Given | Answerer
how does the midterm ressource adaquecy correlate with the tyndp scenarios? | Resource Adequacy (1 to 10 year ahead) is indeed coordinated with TYNDP. This is the scope of a separate methodology to implement the Article 23 of the new Electricy Regulation. Public consultation for this methodology is planned in autumn. | Alban Joyeau
Who is Competent Authority at national level? | Member states have to nominate the competent authoriity by January 2020 until then it is the existing body looking after national electricity supply security. | Bruce Riddington
Would it be possible to have a recording of the webinar post festum to review it once again? | Recording will be published together with webinar material on ENTSO-E website. | Alban Joyeau
How stakeholders are involved (obligatory and voluntary) with national TSOs and ENTSO-E Adequacy Team in such short-term and seasonal Adequacy Assessments? | Data collection is managed through TSOs inputs. TSOs are in direct coordination with all involved national stakeholders. | Alban Joyeau
How do you plan to intesify collaboration with ECMWF and national meteo centers regarding Adequacy Assessments? | ENTSO-E cooperates with the C3S project (Copernicus Climate Change Service) lead by European Union. ECMWF is one of C3S expert entities. | Alban Joyeau
I am missing several risks : 50.2 Hz Issue / lack of reactive power / dynamic stability / system split / insufficient short circuit power / cooling water restrictions at heat wave. All those threats have also to be analysed. | The list of intiating events provided in the presentation were those required of the reglation. The methodology provides for a non exhaustive lists of initiating events to be considered. A number of the examples you provide are the consequent effects of a crisis scenario and their impacts will be analysed by the TSO experts and provided as a part of the scenario description and its effect in terms of likelihood and impact. | Bruce Riddington
I prefer that the list of attendees would be published. | Unfortunately, due to GDPR we cannot publish list of attendees. However, we hereby publish the questions as committed during the webinar, to ease tranparency. | Alban Joyeau
Can methodological new / improved solutions be proposed in the context of the consultation, for instance for the processing of climate information, in order to ensure more relevance and continuity between short term and seasonal time scales? | Improvements are for sure welcome. This can be either during current consultation or also after the current methodology is approved. The coming years would make the methodology further evolve. And ACER can trigger methodology updates. | Alban Joyeau
Will all the email answers to all the questions raised during the webinar also be placed on the ENTSOE website for transparency? | Answers to all questions which will not be answered during webinar will be published on ENTSO-E website. | Alban Joyeau
Will a full list of attendees at this webinar be placed on the website? | Unfortunately, due to GDPR we will not publish full list of attendees. | Alban Joyeau
Thank you for your answer on attendees, could you please say the total number of stakeholders on this Webex, excluding TSOs? | Around 150 people registered who do not work at ENTSO-E or its member | Alban Joyeau
Could you make a Q&A list about the questions posted? The Q&A could be available on ENTSO-E's site and the link sent by email to all today's attendees | Answers to all questions which will not be answered during webinar will be published on ENTSO-E website. | Alban Joyeau
You miss the point of art. 8. Regional crisis may well be born from regional interdependencies. If all TSOs consider it ok to be dependent on import of services, it may not be a national crisis, but a regional crisis | The regional interdependencies will be identified through the cross border dependencies identified. The TSO's need to take the import/ export of services into account when identify the croos border dependencies. This will be subject to a consistency review and gap analysis by the ENTSOE working group together with the Regional Security Coordinators. | Bruce Riddington
Is there any interdependency between RPM and the methodology of Art 23 in electricty market regulation, European resource adequacy assessment? | Short Term, Seasonal Outlooks and European Resource Adequacy Assessment have similar probabilistic approaches, while the uncertainty decreases with shorter time frames | Alban Joyeau
I woudl have expected that as in the TYNDP the process wodul have taken all Europe together ( even with a common grdi model) | Indeed the collection of the crisis scenarios is not bounded by the geography other than the area covered by the crisis scenario. All Eu member states will look at all intiating events and geogrphical picture will emerge of those countries affected by the same crisis scenarios, which is likely to provide a regional picture. | Bruce Riddington
is FB decreasing the rating you calcuate for a certain region? | This question is out of scope of the methodology.
do you expect the introduction of CORE FB solving /reducing some upside risks | This question is out of scope of the methodology.
Is there already an at least rough timeline existing when TSOs will be asked to deliver nationals scenarios, when ENTSO-E will present regional scenarios and so so on? | Article 6 of the regulation requires ENTSOE to deliver the electricity crisis scenarios within 6 months (from 5th March to 5th September) within the methodology we have broken each step into a time period each of the TSO involved steps have a six week delivery. The first on being the national scenarios so that is 6 weeks from the 5th March. | Bruce Riddington
The Short Term Adequacy Methodology describes the process that will be followed by ENTSOE-E to carry out the Summer/Winter Outlook, and by the RCCs to carry out the week/day ahead adequacy. How does the methodology apply to individual TSOs carrying out independetly their own adequacy assessments within their national boundaries? | As stated in Risk Preparedness regulation, the national studies shall use same methodology as European studies. | Alban Joyeau
Will the presentation be available to the audience after this webinar? If so then I would be very grateful for receiving it. | Presentation (and recording of webinar) will be published on ENTSO-E website. | Alban Joyeau
Is there a perspective of implementing an unified DSR solution throughout the Europe? E.g. at the moment there are DSR programmes active which are yet to be cancelled due to the Capacity Market. CM mechanism seems to be very unfriendly towards DSR. | This question is out of scope of webinar and the Methodology prepared by ENTSO-E. | Alban Joyeau
As you mentioned, the system becomes more decentralised; however, modelling becomes more integrated over the whole interconected area & more probabilistic. Please comment | Indeed, even if generation and demand are more decentralised, the interaction of the multiples factors -both spatial and temporal - needs to be considered. Hence probabilisitc approach at EU level is key. | Alban Joyeau