## HowTo
ENTSO-E: Risk Preparedness External Consultation
Contact
Bruce Riddington (Project Manager) bruce.riddington@sec.entsoe.eu
Artur Świętanowski (Convenor) artur.swietanowski@pse.pl
Description
This workbook lists the comments received through the external consultation from the 8 July until 8 October for the methodology to Identify regional electricity crisis scenarios. The Risk Preparedness Project team responded to each comment received which can be seen in column F on the worksheet "consultation comments"

## consultation comments
Submitter | Article | Paragraph | Comment | Text of methodology provided for external consultation | Response
BMWi | 1 |  | Alternative wording of article 1, clause 4: On the basis of the regional crisis scenarios, national competent authorities shall establish risk preparedness plans as required by article 10 of the RPR. Explanation: The change suggested is supposed to bring the wording of article 1 more in line with article 10 of the RPR. The regional crisis scenarios only form the basis / starting point for the plans. The suggested change is only for clarification purposes. | The methodology has been prepared by ENTSO-E in accordance with Article 5 of the RPR and provides the process for identification of the most relevant electricity crisis scenarios at regional level. Subsequently, ENTSO-E shall use the methodology to identify the most relevant electricity crisis scenarios at regional level and update at least every four years as required by Article 6 of the RPR. The national competent authorities shall thereafter rely on the methodology and regional scenarios, in the identification of electricity crisis scenarios at national level as required by Article 7 of the RPR. Consequently, national competent authorities will use the regional crisis scenarios for establishing risk preparedness plans as required by Article 10 of the RPR. | This was originally in Article 1 but has now moved to the whereas.The whereas has been rewitten to reflect the comments received and remove the phrasing that the "national competent authorities rely on the methodology'.and have proposed alternative wording that avoids saying that.
BMWi | 2 | 2 | Alternative wording of article 2 section 2 lit. a): impossibility to supply electricity to customers: means any situation in which a substantial number of customers cannot be supplied with electricity. Customers providing ancillary services in the form of demand side response are out of scope of this methodology. Explanation: Article 2 (2) (a) gives a very broad definition of “impossibility to supply electricity to customers”. This definition should be narrowed down to “situations in which a substantial number of customers” cannot not be supplied with electricity. The current wording allows for declaring an electricity crisis in a situation in which only one customer cannot be supplied with electricity. In our view, this definition goes beyond what the RPR itself foresees (Art. 2 (9) RPR). Alternative wording of article 2 section 2 lit. b) / deletion of the last sentence: region: means a group of Member States whose transmission system operators share the same regional coordination centre as referred to in Article 36 Regulation (EU 2019/…. . Member States may create sub-groups within a region comprising those Member States, which are technically able to provide each other assistance in accordance with Article 15 in the Risk-preparedness regulation. Explanation: Article 2 (2) (b) allows for sub-groups to be created between different regions comprising those MS and RCCs. This goes against article 12 (1) RPR where it is stated that sub-groups may be formed only within a region (see also article 2 (17) RPR). In addition, the RPR foresees only national, bilateral, or regional measures:  Regional measures are measures that shall be agreed within the region concerned between Member States that have the technical ability to provide each other assistance in accordance with article 15.  Bilateral measures are measures that shall be agreed between Member States which are directly connected but are not within the same region. In other words, the RPR Regulation does not oblige Member States to agree on measures with – possibly groups of – other Member States from other regions. | The following clarifications and additions to the above-mentioned definitions shall apply: (a) ‘impossibility to supply electricity to customers’ means any situation in which not all customers can be supplied with electricity. Customers providing ancillary services in the form of demand side response are out of scope of this methodology; (b) 'region' means a group of Member States whose transmission system operators share the same regional coordination centre as referred to in Article 36 Regulation (EU) 2019/...++. Member States may create sub-groups within a region comprising those Member States, which are technically able to provide each other assistance in accordance with Article 15 in the Risk-preparedness regulation. Equally, Member States may create sub-groups between different regions comprising those Member States and RCCs. | This definition was deleted as it was not necessary anymore.
BMWi | 5 | 1 | Alternative wording of article 5 section 1 lit. c): An electricity crisis scenario - as specific as possible - is developed, serving as a starting point for the further risk analysis and a risk preparedness plan. Scenarios should be sufficiently specific, so that every Member State or TSO for which the scenario is considered relevant, is capable of assessing impact of materialization of that Scenario; Explanation: The suggested change is supposed to align article 5 (1) (c) with article 5 (3) (a). Article 5 (3) (a) refers to - possibly limiting - rules on sharing information on scenarios. In other words, these rules determine to a great extent how specific a scenario can actually be. This should be clarified. Alternative wording of article 5 section 1 lit. d): First deliberations on possible national scenarios are being carried out separately, such that they can be fed into regional scenarios that simulate the scenarios occurring simultaneously across multiple Member States; Explanation: The reference to national scenarios in article 5 (1) (d) could be misleading / confusing. It should be made clearer that the national scenarios mentioned in article 5 (1) (d) are not identical with the ones mentioned in article 7 (1) RPR. | 5.1.c (c) A specific electricity crisis scenario is developed, serving as a starting point for the further risk analysis and a risk preparedness plan. Scenarios should be sufficiently specific, so that every Member State or TSO for which the scenario is considered relevant, is capable of assessing impact of materialization of that scenario; (d) National scenarios are prepared separately, such that they can be collated and aggregated into regional scenarios that simulate the scenarios occurring simultaneously across multiple Member States; | Agreed to change the methodology according to proposal This formulation was adapted to the methodology
BMWi | 6 | 1 | Alternative wording of article 6 section 1 lit. c) : Historical frequency of occurrence of an initiating event may not be an acceptable estimator for the future likelihood of the same type of initiating event. In such situation’s expert judgement, simulations or other forward-looking techniques should be used instead. If available, scientific or statistical findings should be taken into consideration. Deficits in knowledge can be compensated for by well-founded assumptions and expert assessments Explanation: The deletion of the word "initially" in the last clause should clarify that difficulties to assess the likelihood of a scenario when historical data is missing or insufficient will not necessarily be only occurring during the first applications of the ranking method. | (c) Historical frequency of occurrence of an initiating event may not be an acceptable estimator for the future likelihood of the same type of initiating event. In such situation’s expert judgement, simulations or other forward-looking techniques should be used instead. If available, scientific or statistical findings should be taken into consideration. Deficits in knowledge can initially be compensated for by well-founded assumptions and expert assessments; | Adopted change proposed.
BMWi | 7 | 1 | Alternative wording of article 7 section 1 clause 1: First ideas on possible national crisis scenarios that can be fed into regional scenarios shall be developed by TSOs in close cooperation with the national competent authority. Explanation: See comments to article 5 (1) lit. d). It seems preferable to clarify the meaning of the term "national crisis scenarios" not only in a footnote. If this should be considered sufficient, it should be also done in article 5 (1) lit. d). | 1. Identification of crisis scenarios at a national level National crisis scenarios9 which are candidates for regional crisis scenarios shall be determined by TSOs in close cooperation with the national competent authority . The crisis scenarios should focus on electricity crises only. The identification of such scenarios should be based upon, but not limited to, consideration of: (a) historical electricity crises that may occur again (both experienced nationally and by other TSOs); (b) available operational expertise and experience on credible future crisis scenarios; (c) interruption of cross-border exchanges and/or ancillary services that are heavily relied upon. Cooperation between the competent authority and the TSO is necessary to identify and define scenarios outside the scope of TSO’s expertise. A scenario is considered relevant if it results in a national electricity crisis, particularly a crisis that has, or results from, cross-border dependencies as described in Article 3. To assess whether an initiating event results in a national electricity crisis, the TSO must be able to estimate the scale of the event in terms of Expected Energy Not Served (EENS) and Loss of Load Expectation (LOLE). It is expected that the TSOs, in cooperation with the national competent authority, should have a method for this estimation, sufficient for estimating if the scenario results in a significant electricity shortage. 2. Identification of cross-border dependencies | Clarity provided in later versions to distinguish between national scenarios and national scenario candidates also explanantion added to the explanatory note
BMWi | 8 | 2 | Comment: Article 8 (2) provides only some guidance on how the gap analysis shall be actually carried out. Any further clarification would be very welcome. This analysis is quite crucial. | 2. Gap analysis Gap analysis should be performed on a taxonomy of initiating events. This is to determine whether any hazards capable of causing a regional scenario have been overlooked. If a relevant regional scenario has been overlooked, it should be added by ENTSO-E in cooperation with the relevant TSOs and Stakeholders as defined in Article 6 of the Regulation, if necessary. | Explanation now included in the explanatory note and more clarity provided by redrafting of the methodology.
BMWi | 9 | 1 | Alternative wording of article 9 section 1 lit. b) clause 2: It is also to be noted, that some of the relevant regional electricity scenarios will not be relevant to at least some TSOs. Nevertheless, those TSOs are expected to explicitly rate them with appropriate levels of likelihood and impact, if possible. Explanation: It is slightly puzzling that in accordance with article 9 (1) (b), it is expected that TSOs should also rate those scenarios which are not relevant to them. It seems doubtful whether TSOs are actually able to carry out this task under all circumstances. | (b) It is also to be noted, that some of the relevant regional electricity scenarios will not be relevant to at least some TSOs. Nevertheless, those TSOs are expected to explicitly rate them with appropriate levels of likelihood and impact; | If it is not relevant to them then the TSO should put a 'zero'. A rating is needed in any case. A specification was added to the explanatory note
BMWi | 9 | 2 | Comment: Article 9 section 2 seems to leave almost no room for scenarios with no cross-border impact. | 2. Identification of cross-border impacts per Member State Based on the national scenario impact, the TSO shall state any cross-border impacts and their severity (if they differ from those already identified in the scenario, via Article 5). This information will be used to capture any potential aggravating conditions of the scenario in Article 11. In addition to these availabilities each TSO shall check the proposed output of the year-ahead-outage planning process and their updates (in accordance to SO GL Article 99 and 100) to evaluate relevant impacts on grid elements necessary for measures in risk preparedness plans or on the risk preparedness plans themselves. In case of forced outages which are handled in accordance with SO GL Article 102, the TSOs shall evaluate relevant impacts on grid elements necessary for the risk preparedness plans or on the risk preparedness plans themselves. | Clarification added to the current Article 13 of the methodology.
BMWi | 9 | 3 | Comment: Article 9 section 3 does not provide much information on how estimates should be actually reached. | 3. Assessment of national impacts (a) For each Member States the relevant TSOs shall indicate, for their control areas, the likelihood and the impacts on the electricity system of each scenario identified in accordance with Article 8 of this methodology, consistent with the rating scales provided (Appendix I), in terms of Expected Energy Not Supplied (EENS) and Loss of Load Expectation (LOLE). Estimating the likelihood or impact of some scenarios may require a collaboration between TSOs and their competent authorities; (b) The above evaluation, as already mentioned in Article 6, shall be based on statistical data for the same event or on estimates in the case of a scenario for which there is not enough relevant historical data; (c) The method used for assessment of likelihood and impact must be indicated in the scenario description (as one of: deterministic calculation and probabilistic calculation), together with the number of sub-scenarios taken into account. The probabilistic method is preferred – the assessment done using such method shall typically be considered more reliable and accurate. | Logical assumptions were made based on experience and expert judgement for the moment. At this point in time no tools are available but might be in the future.
BMWi | 10 | 1.b | Comment: Article 10 section 1 lit. b) gives TSOs only ten working days to provide any clarification. This seems quite a short period of time. | In case of any doubts regarding any content of the submitted scenario descriptions and their national assessments, ENTSO-E shall ask the relevant TSOs to address the deficiency in line with Article 7. The clarification shall be provided to ENTSO-E without undue delay, but not later than ten working days from receipt of request for clarification. | Unfortunately the time is squeezed as according to the RP Regulation we only have 6 months to complete the whole process.
BMWi | 10 | 2 | Comment: Article 10 (2) does not fully explain how the consistency check of cross-border impacts will be actually carried out.The methodology of article 9 and 10 might result in a very large – barely manageable – number of regional scenarios to be addressed by MS located in central Europe. | 2. Consistency Check of cross-border impacts The cross-border impacts per Member state as defined in the national crisis scenarios (Article 9) shall be assessed for completeness as well as inconsistencies towards the neighbouring power systems and towards the regional crisis scenarios. The assessments for inconsistencies shall be done regional and cross-regional. The assessments shall include the severity of the impact. It is the responsibility of ENTSO-E to ensure the regional and cross-regional assessment is done, this may be delegated to the RCCs. | This has been developed and is now included in Article 14 in the latest version. An explanation / estimation on the number of scenarios was given in the Explanatory Note. We expect that scenarios will be pre-rated and aggregated before submitted.
BMWi | 13 |  | omment: The reference to directive 2008/114/EC in article 13 (2) is only useful for the time being. The directive 2008/114/EC is currently being evaluated and in the process of being recast. | 2. Directive 2008/114/EC is applied to energy sector and certain parts of the electricity transmission system can be identified as sensitive critical infrastructure. | This comment is covered by the Article 16.2 of the current methodology.
BMWi | AIII |  | Comment: The checklist to consider for a comprehensive impact assessment that can be found in appendix III.3 contains one item that should be reframed. The item "number of sub-scenarios considered for likelihood & impact assessment (in case of a probabilistic approach)" in the section "severity of the scenario" cannot really be checked against the categories "considered/not relevant". |  | Modified the text in the Appendix III to address the comment.
BNetA | 1 |  | Not foreseen by RPR | The methodology has been prepared by ENTSO-E in accordance with Article 5 of the RPR and provides the process for identification of the most relevant electricity crisis scenarios at regional level. Subsequently, ENTSO-E shall use the methodology to identify the most relevant electricity crisis scenarios at regional level and update at least every four years as required by Article 6 of the RPR. The national competent authorities shall thereafter rely on the methodology and regional scenarios, in the identification of electricity crisis scenarios at national level as required by Article 7 of the RPR. Consequently, national competent authorities will use the regional crisis scenarios for establishing risk preparedness plans as required by Article 10 of the RPR. | This was originally in Article 1 but has now moved to the whereas.The whereas has been rewitten to reflect the comments received and remove the phrasing that the "national competent authorities rely on the methodology'.and have proposed alternative wording that avoids saying that.
BNetA | 2 | 2.m | General remark: Is it helpful to determine definitions which aren´t used once in the document? | Definitions and interpretation | The definition has been adjusted.
BNetA | 2 | 2.a | Problem: If a single customer can´t be supplied this might – following the definition of the “electricity crisis” lead to a crisis. Should be deleted. | ‘impossibility to supply electricity to customers’ means any situation in which not all customers can be supplied with electricity. Customers providing ancillary services in the form of demand side response are out of scope of this methodology; | This definition was deleted as it was not necessary anymore.
BNetA | 2 | 3.i | What is the additional value of this definition? Where is the difference to a “simultaneous crisis”? | (i) ‘coincident crisi s’ means an electricity crisis affecting more than one Member State at the same time, due to multiple unrelated initiating events; | Definition was removed because it was not used in the methodology
BNetA | 5 | 1.d | Contradicts wording of RPR. In a first step, the regional scenarios are developed by ENTSO-E, chronologically followed by the national scenarios which are developed by the competent authorities. So it is not possible to collate and aggregate the national scenarios into regional scenarios. If ENTSO-E establishes “separate national estimates” it must be made clearer, that this doesn´t mean the national scenarios as described by the RPR. | (d) National scenarios are prepared separately, such that they can be collated and aggregated into regional scenarios that simulate the scenarios occurring simultaneously across multiple Member States; | This was clarified in the methodology (by distinguishing "electricity scenario candidates"). Also, explained in more detail the explanatory note.
BNetA | 5 | 2.c | How is this compatible with Appendix III (III.2 Description of regional electricity crisis scenarios by ENTSO-E) where only the “broad geographical area” shall be named/”without indicating exact locations”/”description of potential impacts of the crisis on the national perimeter, focusing on range/general areas instead of details (city or area). | A complete scenario description for each step of the process is given in Appendix III Crisis scenario description template. Scenario description shall – whenever available – contain quantitative data. A range of values is preferred to an exact number (when appropriate), and general characteristics of an area is preferable to a city/district name as it will be easier to build common scenarios. If available, scientific or statistical findings should be included. Deficits in knowledge can initially be compensated for by well-founded assumptions and expert assessments. | To be consistent general characteristic will be changed to "broad geografical areas".
BNetA | 5 | 3.d | Here it might be useful to distinguish between the sensitivity of information during the establishment process of the methodology and the final version. Since the final version of the methodology has to be published: Or are any information which can be subsumed under this provision already publicly accessible? | (d) Information which is already shared between TSOs, ENTSO-E, regulatory authorities and other third parties to ensure operational or planning tasks in accordance with requirements of SO GL, NC ER and other regulations shall not be considered as sensitive information. | Text has been reviewed to accommodate this comment in the methodology
BNetA | 6 | 1.a | Footnote The difference between national crisis scenarios as defined in Art. 7 RPR and “national scenarios” defined in this methodology should be made clearer. | 5 Likelihood scales, impact scales, crisis severity assessment method (using the national crisis impact scale) and crisis scenario description templates defined in this methodology are designed in such a way, that they are applicable both within the scope of this methodology (Articles 5 and 6 of the RPR), and for other purposes (such as identification and assessment of national electricity crisis scenarios as defined in Article 7 of RPR). Usage of the components of this methodology in the context of Article 7 of RPR is encouraged, but not required. | This has been changed and addressed subsequently.
BNetA | 6 | 2.c | Since only the example gives a hint of what is meant by “indirect impacts”: It would be more understandable if indirect impacts would be defined as f. e. “impacts outside the electricity sector. Otherwise the wording might lead to misunderstandings. | (c) Only direct impacts shall be assessed. Indirect impacts should not be considered, such as those that are delayed, or depend on additional factors outside of the scope of the scenario. An example may be health issues that are detected in many years’ time due to temporary exposure to pollution; | The example in the methodology has been changed to address the comment.
BNetA | 7 | 1 | Since the cooperation with the national competent authority is named here: The RPR foresees in Art. 6 that the regional crisis scenarios shall be identified in close cooperation with ECG, regional coordination centers, competent authorities and NRAs. Is this cooperation deliberately not mentioned since it is regulated by the RPR anyway? | National crisis scenarios9 which are candidates for regional crisis scenarios shall be determined by TSOs in close cooperation with the national competent authority . The crisis scenarios should focus on electricity crises only. The identification of such scenarios should be based upon, but not limited to, consideration of: | No change to the methodology because ENTSO-E will fulfill the Article 6 requirements of RP Reguation.
BNetA | 7 | 1 | Footnote Confusing, since the national crisis scenarios already appear in the preceding parts of the methodology, so it could rise the impression, that some parts of the methodology do indeed refer to national scenarios in accordance with Art. 7 RPR. Hence it might be useful to use a different term for national scenarios developed by ENTSO-E within the scope of this methodology instead of using the term of the RPR. | 9 The national crisis scenarios are for the purposes of identifying regional crisis scenarios, not for satisfying the requirements of Article 7 of RPR | Clarity provided in later versions to distinguish between national scenarios and national scenario candidates also explanantion added to the explanatory note
BNetA | 8 | a | See comments above. Confusing since this can´t mean the national scenarios according to Art.7 RPR | (a) collection and aggregation of national electricity crisis scenarios (including quality and compliance checks); | Tackled when the Article was redrafted. Now electricity scenario candidates has been used so the confusion shall be in principle avoided.
Commission for Electricity and Gas Regulation (CREG) | 1 |  | A further clarification would be welcome of the interplay between national and regional scenarios. National crisis scenarios are needed for the purpose of identifying regional crisis scenarios (see article 7) while national competent authorities shall rely on regional scenarios (and the methodology) in the identification of electricity crisis scenarios at national level (see article 1). | The methodology has been prepared by ENTSO-E in accordance with Article 5 of the RPR and provides the process for identification of the most relevant electricity crisis scenarios at regional level. Subsequently, ENTSO-E shall use the methodology to identify the most relevant electricity crisis scenarios at regional level and update at least every four years as required by Article 6 of the RPR. The national competent authorities shall thereafter rely on the methodology and regional scenarios, in the identification of electricity crisis scenarios at national level as required by Article 7 of the RPR. Consequently, national competent authorities will use the regional crisis scenarios for establishing risk preparedness plans as required by Article 10 of the RPR. | This has been changed in the current methodology.
Commission for Electricity and Gas Regulation (CREG) | 2 | 1 | Further clarification of the relationship with the NC E&R would be very welcome. An interpretation of the how the requirements /implementation of the RPR and the NC E&R fit together would improve the understanding and the complementarity. | For the purposes of this document, the definitions in Article 2 of the RPR shall apply and are repeated here for convenience: (a) 'security of electricity supply' means the ability of an electricity system to guarantee the supply of electricity to customers with a clearly established level of performance1, as determined by the Member States concerned; (b) 'electricity crisis' means a present or imminent situation in which there is a significant electricity shortage, as determined by the Member States and described in their risk-preparedness plans, or in which it is impossible to supply electricity to customers; (c) 'simultaneous crisis' means an electricity crisis affecting more than one Member State at the same time; (d) 'competent authority' means a national governmental authority or a regulatory authority designated by a Member State in accordance with Article 3; (e) 'non-market-based measure' means any supply- or demand-side measure that deviates from market rules or commercial agreements, the purpose of which is to mitigate an electricity crisis; ( ) ‘early warning’ means a provision of concrete, serious, reliable information indicating that an event may occur which is likely to result in a significant deterioration of the electricity supply situation and is likely to lead to electricity crisis; | There is no direct correlation between a methodology to identify regional electricity crisis scenarios and Emergency and Restoration Network Code. Some text has been added to the explanatory note to show the alignement with this methodology and Risk Preparedness Plans.
Commission for Electricity and Gas Regulation (CREG) | 2 | 2.a | Article 2 (2)(a) states that customers providing ancillary services in the form or DSR are out of scope of this methodology deserves further explanation. | 2. The following clarifications and additions to the above-mentioned definitions shall apply: (a) ‘impossibility to supply electricity to customers’ means any situation in which not all customers can be supplied with electricity. Customers providing ancillary services in the form of demand side response are out of scope of this methodology; | This definition was deleted as it was not necessary anymore.
Commission for Electricity and Gas Regulation (CREG) | 2 | 1.c | Definition of 'simultaneous crisis' (§1(c)) and 'coincident crisis' (§3(I)) lie very close together. Definitions deserve more explanation in order to understand fully the difference and the relevance to use both notions and definitions. | (c) 'simultaneous crisis' means an electricity crisis affecting more than one Member State at the same time; (i) ‘coincident crisi s’ means an electricity crisis affecting more than one Member State at the same time, due to multiple unrelated initiating events; | This definition was removed as there wasnt clarity of the difference between coincident and simultaneaous.
Commission for Electricity and Gas Regulation (CREG) | 3 | 2 | 'Beyond n-1' is a very important principle and deserves a clear definition and understanding in this document. | 2. These cross-border dependencies can be either regional or cross-regional and fall into two categories: (a) Direct impact of the crisis on neighbouring power systems, for reasons such as unavailability of several (beyond n-1) interconnectors or internal lines in close electrical proximity, or unavailability of generation; | N-1 as defined in SO GL Article 3
Commission for Electricity and Gas Regulation (CREG) | 3 | 3 | Statements remain high-level principles. Probably not fair to come back on my earlier point but the interplay between RPR and NC E&R (incl. system defence plan incl. disconnection plan and restoration plan) deserve a clear understanding in order to get the full picture and a good view on the discussions in this document. | 3. Mitigation of the direct and indirect cross-border impacts of crisis falls into the scope of the risk preparedness plans as it requires anticipation and coordination beforehand, including firstly market solutions, but also bilateral agreements between regions, Member States or TSOs. | There is no direct link between ER and crisis scenario identification. NC does not need any scenarios. An explanation of the link with the methodology and Risk Preparedness Plans is included in the explanatory note
Commission for Electricity and Gas Regulation (CREG) | 4 |  | See earlier comments: clear explanation of the 'beyond n-1' principle in the context of this document. What's the view on more market based scenarios explaining a electricity crisis e.g. shortage of capacity building in time due to reticence of the market to build capacity (e.g. back-up capacity for renewables)? Due to uncertainty of the future (future of coal? nuclear? decarbonisation?....). | The crisis scenarios shall be identified based on at least the following hazards4: (a) rare and extreme natural hazards; (b) accidental hazards going beyond the N-1 security criterion, and exceptional contingencies; (c) consequential hazards including consequences of malicious attacks and of fuel shortages. With respect to the hazards listed above a classification of circumstances is developed as a hierarchical, standardized system (see Appendix II.2 - Initiating event list). | Text changed Appendix II in line with previous comments to make it more general. The comment is more related to a lack of adequacy and managed through Article 8 methodology.
Commission for Electricity and Gas Regulation (CREG) | 5 | 1 | See previous comments. Right to focus on scenarios (events) but it is necessary to have a view on the possible consequences on supply security and grid stability. Therefore scenarios (events) and their impacts/consequences have to look together. | 1. Motivation for defining electricity crisis scenarios (a) Development of the national and regional electricity crisis scenarios is a prerequisite for risk preparedness plans. The plans are aimed at ensuring the maximum preparedness for electricity crisis situations and an effective management of such situations should they occur, thanks to effective measures taken to prevent and/or mitigate the scenarios; (b) The process of identifying crisis scenarios at regional and national level requires that a set of assumptions is described (as stated in Appendix I. - Scenario rating scales). These assumptions should be based on considerations of relevant national and regional circumstances; (c) A specific electricity crisis scenario is developed, serving as a starting point for the further risk analysis and a risk preparedness plan. Scenarios should be sufficiently specific, so that every Member State or TSO for which the scenario is considered relevant, is capable of assessing impact of materialization of that scenario; (d) National scenarios are prepared separately, such that they can be collated and aggregated into regional scenarios that simulate the scenarios occurring simultaneously across multiple Member States; | Will be taken into account by the TSO when evaluating Likelihood and Impact
Commission for Electricity and Gas Regulation (CREG) | 5 | 2 | This § respond on my previous comment (art 5 §1) to some extent but an emphasis throughout the documents is likely welcome. | General requirements for a crisis scenario (a) Given the motivations stated above, each scenario must fulfil the following quality criteria: (iii) it must be specific enough for each TSO to individually, qualitatively and quantitatively describe the consequences in the TSO’s Control Area; (iv) it should be possible to propose risk preparedness plans, which must either: o prevent, o prepare for, or o mitigate the electricity crisis situations. (v) its symptoms should be observable, so that it is possible to execute risk preparedness plans. b) The description has to be as precise and consistent as possible, as any given scenario must clearly and in sufficient detail describe the initial condition(s) of the system, a sequence (chain) of events following the initiating event, and the most likely consequences. The required content of a crisis scenario should cover issues such as: (i) a description of initial condition of the system relevant to the scenario, (ii) a list of initiating event(s), (iii) the estimated time of the expected beginning of the sequence of events, (iv) the evolution of the crisis scenario, (v) severity of the scenario, (vi) cross-border dependencies (vii) if applicable, reference crises of the past, (viii) other important information related to the scenario, relevant to managing it. (c) A complete scenario description for each step of the process is given in Appendix III Crisis scenario description template. Scenario description shall – whenever available – contain quantitative data. A range of values is preferred to an exact number (when appropriate), and general characteristics of an area is preferable to a city/district name as it will be easier to build common scenarios. If available, scientific or statistical findings should be included. Deficits in knowledge can initially be compensated for by well-founded assumptions and expert assessments. | Acknowledged
Commission for Electricity and Gas Regulation (CREG) | 6 | 3.h | (h) is an important point. The CBA deserve more attention here. See also previous comment (events=>consequences=> costs (and benefits of countermeasures)). Scenarios should also be seen in this chain. | (h) In case of the most relevant regional electricity crisis scenarios, ENTSO-E may propose use of a scenario-specific probabilistic method (or methods) for assessing the likelihood and impact measures, relevant to the particular scenario and the nature of its uncertainty. Such method shall be identified by ENTSO-E, consulted with Member States potentially affected by such electricity crisis scenario. As development of necessary computational methods and tools may require considerable time and resources, ENTSO-E shall develop plans for implementation of such methods and tools including cost-benefit analysis. The plans will be subject to approval by the Member States.8 | Text has been modified since the comment removing the refernce to CBA.
Commission for Electricity and Gas Regulation (CREG) | 6 | 4 | (Available) cross-border capacity issues deserve more attention when the assessment of cross-border dependencies are discussed. | 4. Assessment of cross-border dependencies Cross-border dependencies shall be considered aggravating factors in regional scenarios and thus are included in their relevance rating. For each scenario described, the TSO shall analyse the cross-border dependencies with neighbouring power systems through two perspectives: (a) as an aggravating input for the scenario (”In this scenario, will the local situation worsen if neighbouring power systems are unable to offer support (in reactive power, counter trading/redispatch or energy)?”); (b) as an output of the national scenario (”In this scenario, will I be prevented from helping neighbouring power systems that face a simultaneous crisis?”). These two aspects shall be included in the description of scenarios – cf. Appendix III.3 – Crisis scenario description template and will be used to evaluate a general overall rating of the strength of the cross-border dependencies (cf. Appendix I.4). | Cross border capacity was implied, the text has been modified to make it more explicit and to include another comment from ACER.
Commission for Electricity and Gas Regulation (CREG) | 6 | 2 | Important paragraph. Not only a probability of the scenario but also a probability of the consequences and the scale/severity of the consequences. Important to have an idea of the costs an benefits to judge the need of measures. The scale/severity of impacts may differ considerable according to the particularities of the impacted electricity market and system. | 2. Assessment of impact (a) The impact must be estimated and classified for each defined crisis scenario. In order to classify impact, the main considered values are the expected energy not served (EENS%) and loss of load expectation (LOLE)7; (b) For classification, a five-step scale (ranging from “insignificant” to “disastrous”) is used, as defined in Appendix I.2. Both EENS and LOLE should be classified for a given electricity crisis scenario; (c) Only direct impacts shall be assessed. Indirect impacts should not be considered, such as those that are delayed, or depend on additional factors outside of the scope of the scenario. An example may be health issues that are detected in many years’ time due to temporary exposure to pollution; (d) Derivation of the classification of impact has to be documented, so that retracing is possible when the analysis is updated or verified. | This is already included in the methodology.
Commission for Electricity and Gas Regulation (CREG) | 7 | 1 | See earlier comments (a.o. the interplay between national and regional scenarios). | 1. Identification of crisis scenarios at a national level National crisis scenarios9 which are candidates for regional crisis scenarios shall be determined by TSOs in close cooperation with the national competent authority . The crisis scenarios should focus on electricity crises only. The identification of such scenarios should be based upon, but not limited to, consideration of: (a) historical electricity crises that may occur again (both experienced nationally and by other TSOs); (b) available operational expertise and experience on credible future crisis scenarios; (c) interruption of cross-border exchanges and/or ancillary services that are heavily relied upon. Cooperation between the competent authority and the TSO is necessary to identify and define scenarios outside the scope of TSO’s expertise. A scenario is considered relevant if it results in a national electricity crisis, particularly a crisis that has, or results from, cross-border dependencies as described in Article 3. To assess whether an initiating event results in a national electricity crisis, the TSO must be able to estimate the scale of the event in terms of Expected Energy Not Served (EENS) and Loss of Load Expectation (LOLE). It is expected that the TSOs, in cooperation with the national competent authority, should have a method for this estimation, sufficient for estimating if the scenario results in a significant electricity shortage. | Explanation now included in the explanatory note
Commission for Electricity and Gas Regulation (CREG) | 7 | 2 | Exchange of ancillary services. In order to keep a good understanding, a clear definition in this context would be welcome. Availability of cross-border capacity deserves appropriate attention. | 2. Identification of cross-border dependencies For each national scenario that will be defined (cf. Appendix III.1), the following cross-border dependencies shall be assessed: (a) Availability of redispatch/ counter trading/cross-border exchange of ancillary services to make it possible to inject or to withdraw power from power plants in a certain neighbouring power system; (b) Availability of reactive power (to support system stability); (c) Availability of energy support. | A clear definition was added to enhance understanding.
Commission for Electricity and Gas Regulation (CREG) | 7 | 3 | See earlier comments. | 3. Description of a national electricity crisis scenario A detailed description of each scenario should be completed, such that it fulfils the requirements outlined in Article 5. A template for the scenario description is available in Appendix III.1, where the potential initiating events are listed in Appendix II.2. As national crisis scenarios will form a basis for the identification of regional crisis scenarios, relevant cross-border dependencies or impacts on other Member States have to be described (see Articles 3 and 5). | Explanation now included in the explanatory note
Commission for Electricity and Gas Regulation (CREG) | 7 | 4 | See earlier comments (a.o. interplay of national and regional scenarios). | Submission of national electricity crisis scenario The description of all relevant national crisis scenarios (as defined in Article 5 section 2) shall be submitted to ENTSO-E within 6 weeks of receipt of the request. National contact information of the authors should be included. In order to align national crisis scenario description, ENTSO-E might contact the authors to clarify emerging questions. | Explanation now included in the explanatory note
Commission for Electricity and Gas Regulation (CREG) | 8 | 1 | The 'gap analysis' deserves further explanation. | In order to identify regional electricity crisis scenarios, as prescribed in Article 6 of the Regulation of Risk preparedness and in line with Appendix I.5 of this methodology, ENTSO-E collects national electricity crisis scenarios as input to this Article. The identification of regional electricity crisis scenarios is comprised of three main parts: (a) collection and aggregation of national electricity crisis scenarios (including quality and compliance checks); (b) a gap analysis where missing national electricity crisis scenarios are identified; (c) preparation of a final set of regional electricity crisis scenarios. The overall process is detailed below. | Clarity is been provided to redrafting
Commission for Electricity and Gas Regulation (CREG) | 8 | 2 | More explanation is needed for a good understanding. Anyway, discussion of national scenarios is always troublesome (once used for building regional scenarios and once derived from regional scenarios - see earlier comments). | Gap analysis Gap analysis should be performed on a taxonomy of initiating events. This is to determine whether any hazards capable of causing a regional scenario have been overlooked. If a relevant regional scenario has been overlooked, it should be added by ENTSO-E in cooperation with the relevant TSOs and Stakeholders as defined in Article 6 of the Regulation, if necessary. | Explanation now included in the explanatory note and more clarity provided by redrafting of the methodology.
Commission for Electricity and Gas Regulation (CREG) | 8 | 3 | More attention is needed to available (cross-border) transmission capacity incl. related scenarios. | 3. Inclusion of scenarios related to connected infrastructure In addition to the aggregation of national scenarios, ENTSO-E shall also consider infrastructure disruption scenarios. At a minimum, this should include scenarios related to the natural gas supply, as developed by ENTSO-G pursuant to Article 7 of the Regulation (EU) 2017/1938 of the European Parliament and of the Council. Additional scenarios related to connected infrastructure (e.g. gas, ICT) may be considered and included where appropriate, by ENTSO-E in cooperation with the relevant TSOs. | A clarification was added to Article 11.4 of this methodology.
Commission for Electricity and Gas Regulation (CREG) | 9 | 1 | See previous comments. | 1. Assessment of scenario impact per Member State (a) Each relevant regional electricity crisis scenario, identified in accordance with Article 8, shall be assessed at a national level by applying methodology described in Article 6. It is to be noted, that the regional crisis scenarios resulting from collating scenarios provided by the TSOs, are expected to differ from the original descriptions provided by the TSOs. Therefore, a complete assessment of each regional scenario must take place, even if the TSO already assessed the likelihood and impact of the scenarios it originally proposed; (b) It is also to be noted, that some of the relevant regional electricity scenarios will not be relevant to at least some TSOs. Nevertheless, those TSOs are expected to explicitly rate them with appropriate levels of likelihood and impact; (c) All the relevant national authorities of the Member States affected, should be informed of the regional electricity crisis scenarios, including at least the information outlined in Article 5. | We assume that this comment is tackeld due to the integration of the previous comments.
Commission for Electricity and Gas Regulation (CREG) | 9 | 3 | Impacts should also spend attention to the cost impacts. Same LOLE/EENS may have different economic/financial impacts across time/region. | 3. Assessment of national impacts (a) For each Member States the relevant TSOs shall indicate, for their control areas, the likelihood and the impacts on the electricity system of each scenario identified in accordance with Article 8 of this methodology, consistent with the rating scales provided (Appendix I), in terms of Expected Energy Not Supplied (EENS) and Loss of Load Expectation (LOLE). Estimating the likelihood or impact of some scenarios may require a collaboration between TSOs and their competent authorities; (b) The above evaluation, as already mentioned in Article 6, shall be based on statistical data for the same event or on estimates in the case of a scenario for which there is not enough relevant historical data; (c) The method used for assessment of likelihood and impact must be indicated in the scenario description (as one of: deterministic calculation and probabilistic calculation), together with the number of sub-scenarios taken into account. The probabilistic method is preferred – the assessment done using such method shall typically be considered more reliable and accurate. | LOLE and EENS do not refer to economic or financial impact across region/time. Cost question is out of scope in RPR and Methodology.
Commission for Electricity and Gas Regulation (CREG) | 10 | 1 | See previous comments (this is not an easy way to feedback, I mean that considering previous comments in previous articles will impact this article). | 1. Gathering the national impact assessments per Member State (a) ENTSO-E gathers the regional crisis scenario descriptions, completed by the TSOs. ENTSO-E checks the scenario descriptions for completeness and compliance with this methodology and with the contents of the regional scenarios sent out for assessment. In cases of non-compliance or of missing submissions, ENTSO-E notifies the TSO. Missing or non-compliant submissions: (i) may be treated as rating a particular crisis scenario as irrelevant to the member state (national impact rating “Insignificant” and no cross-border dependencies) or (ii) may be brought to compliance by ENTSO-E in cooperation with the TSOs at ENTSO-E’s discretion. (b) In case of any doubts regarding any content of the submitted scenario descriptions and their national assessments, ENTSO-E shall ask the relevant TSOs to address the deficiency in line with Article 7. The clarification shall be provided to ENTSO-E without undue delay, but not later than ten working days from receipt of request for clarification. | We assume that we incorporated and addressed all comments made through the consultation hub.
Commission for Electricity and Gas Regulation (CREG) | 10 | 4 | Very important that a distinction is made between 'physical and monetary meaning'. It's seems to be important to make it throughout the document or at least make sure from the start that this distinction is recognized. Monetary (economic) meaning is important to have a view on the importance of physical consequences and to spend money on actions. | 4. Ranking regional crisis scenarios according to their relevance (a) As a result of the calculation performed as described in step 2 above, a single number is assigned to each scenario. The higher the number, the more relevant the regional scenario is; (b) The number (and thus crisis scenario rank) produced as a result of the procedure defined above, has no physical or e.g. monetary meaning. It’s only meaning, and role is to enable to select the scenarios of highest relevance to ENTSO-E members and their respective Member States for development of risk preparedness plans. | The requirement of the regulation is assess the impact in terms of EENS and LOLE not monetary terms. This helps assess the impacts consistently across the regions. A monetary impact can be calculated through using a VOLL on a Member State basis when assessing National Scenarios and the consequent regional and bilateral measures to be included in risk preparedness plans.
Commission for Electricity and Gas Regulation (CREG) | 11 |  | Why not adding in the list in (2) also the economic/financial impacts in e.g. National impact & likelihood? Ranking seems to be made on the basis of physical impacts? Isn't the ranking on the basis of economic/financial impacts at least important? Probably implicitly included but wouldn't it be more objective to make a clear distinction between physical and economic (financial). See earlier comments and article 10, 4(b). | 1. No later than six months after the approval of the methodology ENTSO-E shall submit the regional electricity crisis scenarios, as defined according to Article 8 of this methodology, to the transmission system operators, Regional Coordination Centres, competent authorities and national regulatory authorities and the Electricity Coordination Group. 2. A single report comprising the regional electricity crisis scenarios shall be prepared by ENTSO-E. The relevance of each regional crisis scenario shall be indicated by the score according to Appendix I. The most relevant scenarios shall be the highest scoring scenarios. Each scenario shall be presented in terms of the following minimal information collected from the methodology: (a) Initiating event(s); (b) Area of geographical relevance; (c) National impact & likelihood; (d) Ranking; (e) Presence and importance of cross-border dependencies. Additional information, including any visualization, may be included in the report. | The requirement of the regulation is assess the impact in terms of EENS and LOLE not monetary terms. This helps assess the impacts consistently across the regions. A monetary impact can be calculated through using a VOLL on a Member State basis when assessing National Scenarios and the consequent regional and bilateral measures to be included in risk preparedness plans.
Commission for Electricity and Gas Regulation (CREG) | 12 |  | Wouldn't it be welcome to repeat here also the upgrades in order to make it fit for CBA (see earlier in the document). | Periodical assessment of regional crisis scenarios ENTSO-E will update the regional crisis scenarios every four years, unless circumstances warrant more frequent updates. Such updates could be triggered by ENTSO-E as a result of events such as a significant change in national or regional risk assessments, or the detection of a major risk previously not integrated in the regional crisis scenarios. For instance, new studies on climate change highlighting a significant increase in the frequency or severity of various hydro-meteorological hazards could trigger an update. 2. Periodical assessment of the methodology ENTSO-E shall update and improve the methodology when significant new information becomes available and justify an update. As indicated in Article 8 RPR, The Electricity Coordwatination Group, in its formation composed of representatives of the Member States only, may recommend and the Agency or the Commission may request such updates and improvements with due justification. Within six months from the request, ENTSO-E shall submit to the Agency a draft of the proposed changes. Within two months of the receipt of the draft, the Agency shall approve or amend the proposed changes, after consulting the Electricity Coordination Group in its formation composed of representatives of the Member States only. The final version shall be published on the websites of ENTSO-E and the Agency. | The statistical methods are part of the methodology (Article 8) and should be used each time the sccenarios are updated, and not only when the methodology is updated. The first point of Arcticle 16 has been changed and refers to the whole methodology, to include Article 8, now.
Commission for Electricity and Gas Regulation (CREG) | AI | 1 | See earlier comments. Give it a trial and let's look what the application provides as results and next evaluate the scales. |  | No change required
Commission for Electricity and Gas Regulation (CREG) | AI | 2 | See earlier comments. Give it a trial and let's look what the application provides as results and next evaluate the scales. |  | No change required
Commission for Electricity and Gas Regulation (CREG) | AI | 3 | See earlier comments. Give it a trial and let's look what the application provides as results and next evaluate the scales. |  | No change required
Commission for Electricity and Gas Regulation (CREG) | AI | 4 | See earlier comments. Give it a trial and let's look what the application provides as results and next evaluate the scales. |  | No change required
Commission for Electricity and Gas Regulation (CREG) | AI | 5 | See earlier comments. Give it a trial and let's look what the application provides as results and next evaluate the scales. |  | No change required
Commission for Electricity and Gas Regulation (CREG) | AII |  | See earlier comments. a.o. why not considering crisis scenarios based on lack of investments in generation capacity (e.g. back up capacity for solar/wind), availability of cross-border transmission capacity, … a crisis based on imperfections in the system/market? |  | The text changed in line with ACER's comments see above to make it more general. The comment is more related to a lack of adequacy and managed through Article 8 methodology.
Commission for Electricity and Gas Regulation (CREG) | AIII |  | See earlier comments & give it a trial, let's evaluate the results and revise the template accordingly. |  | No change required
CRE | 5 | 1 | "National scenarios are prepared separately, such that they can be collated and aggregated into regional scenarios that simulate the scenarios occurring simultaneously across multiple Member States;" According to article 7 of the RPP regulation, national electricity crisis scenarios have to be identified 10 months after entry into force of the regulation, i.e. 4 months after the identification of regional scenarios, thus national scenarios cannot be "collated and aggregated into regional scenarios" but should be developed after the regional scenarios and be coherent with them. | (d) National scenarios are prepared separately, such that they can be collated and aggregated into regional scenarios that simulate the scenarios occurring simultaneously across multiple Member States; | Clarity provided updated versions to distinguish between national scenarios and national scenario candidates also explanantion added to the explanatory note
CRE | 7 | 3 | "As national crisis scenarios will form a basis for the identification of regional crisis scenarios , relevant cross-border dependencies or impacts on other Member States have to be described (see Articles 3 and 5)." The problem is the same as in article 5, the proposal is contradictory with the regulation, national scenarios have to be coherent with regional ones, which will form a basis for the identification of national scenarios, according to article 7 of the RPR regulation. | 3. Description of a national electricity crisis scenario A detailed description of each scenario should be completed, such that it fulfils the requirements outlined in Article 5. A template for the scenario description is available in Appendix III.1, where the potential initiating events are listed in Appendix II.2. As national crisis scenarios will form a basis for the identification of regional crisis scenarios, relevant cross-border dependencies or impacts on other Member States have to be described (see Articles 3 and 5). | Clarity provided in later versions to distinguish between national scenarios and electricity scenario candidates also explanantion added to the explanatory note
Directorate General for Energy Policies Ministry of Energy, Romania | 2 | 1 | Art. 2 1. For the purposes of this document, the definitions in Article 2 of the RPR shall apply and are repeated here for convenience: Maybe it is not necessary to be repeated the definitions as they are provided by the Regulation on risk-preparedness in the electricity sector – RRP. In the proposal of ”Short-term and Seasonal Adequacy Assessments Methodology”, the definitions were not repeated. It was used the following provision: ”For the purposes of the Methodology Proposal, terms used in this document shall have the meaning of the definitions included in Article 2 of the RPR, Electricity Regulation, Electricity Directive;” | Art. 2 1. For the purposes of this document, the definitions in Article 2 of the RPR shall apply and are repeated here for convenience: | The definitions were removed because they are already in the regulation.
Directorate General for Energy Policies Ministry of Energy, Romania | 2 | 1.c | Art. 2 1. (c) 'simultaneous crisis' means an electricity crisis affecting more than one Member State at the same time; To be aligned with art. 2 point (10) from the Regulation of the European Parliament and Council on risk-preparedness in the electricity sector – RPR: (10) ‘simultaneous electricity crisis’ means an electricity crisis affecting more than one Member State at the same time; | Art. 2 1. (c) 'simultaneous crisis' means an electricity crisis affecting more than one Member State at the same time; | The definitions were removed because they are already in the regulation.
Directorate General for Energy Policies Ministry of Energy, Romania | 2 | 2.b | The definitions "region" and "sub-group" are provided by the Regulation on risk-preparedness in the electricity sector – RRP, to art. 2, points 16 and 17 and have the following formulations: (16) ‘region’ means a group of Member States whose transmission system operators share the same regional coordination centre as referred to in Article 36 of Regulation (EU) 2019/943; (17) ‘subgroup’ means a group of Member States, within a region, which have the technical ability to provide each other assistance in accordance with Article 15; They must be moved to point 1 of art. 2 of the Methodology or eliminated because they are already in the RRP. | Art. 2 2. (b) 'region' means a group of Member States whose transmission system operators share the same regional coordination centre as referred to in Article 36 Regulation (EU) 2019/…++. Member States may create sub-groups within a region comprising those Member States, which are technically able to provide each other assistance in accordance with Article 15 in the Risk-preparedness regulation. Equally, Member States may create sub-groups between different regions comprising those Member States and RCCs. | This has been deleted through various version changes and the definition is defined in the regulation.
Directorate General for Energy Policies Ministry of Energy, Romania | 2 | 3.j | The definitions ’EENS%’ and ’LOLE ’are provided by the proposal of ’Short-term and Seasonal Adequacy Assessments Methodology’, to art. 2, points n. and p. with different formulations and they should be aligned: ’n. Loss of Load Expectation (LOLE)–in a given geographical zone for a given period, expected number of hours when lack of market based resources is expected to cover the demand needs within transmission grid operational security limits.’ ’p. Expected Energy Not Served (EENS)–in a given geographical zone for a given period, energy which is expected not to be supplied due to lack of market based resources while ensuring transmission grid operational security limits.’ | Art. 2 3. (j) ’EENS%’ is the Expected Energy Not Supplied (also commonly named Expected Energy Not Served) calculated by dividing expected energy not served for the duration of load curtailment by the total annual energy consumption of a Member State; (k) ’LOLE’ (Loss of Load Expectation) is expressed in hours and represents the number of hours in which supply would not meet demand due to the crisis scenario; | These defintiions have been reviewed and now align with the defintions in Article 8 methodology
Directorate General for Energy Policies Ministry of Energy, Romania | 5 | 1.b | According to Art. 5, pct. 3, (a) from Regulation on risk-preparedness in the electricity sector, there are mentions regarding the consideration of relevant subgroups: ’The proposed methodology shall include at least the following elements: (a) a consideration of all relevant national and regional circumstances, including any subgroups;’ The subgroups should be mentioned also in Methodology. | Art. 5 1. (b) The process of identifying crisis scenarios at regional and national level requires that a set of assumptions is described (as stated in Appendix I. - Scenario rating scales). These assumptions should be based on considerations of relevant national and regional circumstances; | A general link was included to specify subgroups in he whereas part.
Directorate General for Energy Policies Ministry of Energy, Romania | 6 | 1.a | There is a need to be completed within art. 6 (1) (a) with table I.1 Crisis likelihood scale from Apendix I Scenario Rating Scales. It increase s the clarity of art. 6 Crisis scenario ranking method. | Art. 6 1. Assessment of likelihood (a) The likelihood of each crisis scenario (national or regional) is classified using a five-step scale. This scale ranges from “very unlikely” to “very likely”, corresponding to a quantitative likelihood range, as shown in Appendix I.1 - Crisis likelihood scale; | The scales seem to be fully consistent at the time of check (possible inconsistencies may have been eliminated earlier).
Directorate General for Energy Policies Ministry of Energy, Romania | 6 | 1.e | Because classification already is contained in table I.1 from Apendix I, the requirement from letter e) is no longer necessary. (e) The values defined in the classification table must not be modified by TSOs, as it would lead to results incomparable between Member States. | Art. 6 1. Assessment of likelihood (e)The values defined in the classification table must not be modified by TSOs, as it would lead to results incomparable between Member States. | This has been removed from the methodology.
Directorate General for Energy Policies Ministry of Energy, Romania | 6 | 2.c | It has to be specified within the methodology how the distinction between direct and indirect impact will be done. Undefined notions/terms may lead to incorrect application of the methodology. | Art. 6 2. (c) Only direct impacts shall be assessed. Indirect impacts should not be considered, such as those that are delayed, or depend on additional factors outside of the scope of the scenario. An example may be health issues that are detected in many years’ time due to temporary exposure to pollution; | The example in the methodology has been changed to address the comment.
Directorate General for Energy Policies Ministry of Energy, Romania | 6 | 3.g | Probabilistic method superiority toward deterministic method has to be specified (detailed) into support document or even into the methodology, into art. 6 (3) (g). | Art. 6 3. (g) A probabilistic method for evaluating both impact and likelihood of each crisis scenario is usually superior to a deterministic one (and thus preferred). | This is now incorporated into the expalantory note
Directorate General for Energy Policies Ministry of Energy, Romania | 7 | 1 | This phrase has to be reformulated for a good understanding of logical succession: first it has to be established national crisis scenarious and after that the regional crisis scenarios will be established. Using of national scenarious crisis notion as in the R941/2019 lead to an understanding that art. 7 from R941/2019 proceed art. 6 from R941/2019, i.e. first the regional crisis scenarious is established and after that national crisis scenarios will be established, which represents a wrong understanding. The sucession is inverse: first the national crisis scenarious are established and after that the regional crisis scenarious are established. By introducing the footnote The national crisis scenarios are for the purposes of identifying regional crisis scenarios, not for satisfying the requirements of Article 7 of RPR, it is recognized the presence of this confusion. | Art.7 1. National crisis scenarios which are candidates for regional crisis scenarios shall be determined by TSOs in close cooperation with the national competent authority. (…) | Clarity provided in later versions to distinguish between national scenarios and electricity scenario candidates also explanantion added to the explanatory note
Directorate General for Energy Policies Ministry of Energy, Romania | 7 | 3 | Art. 7 (3) has to be completed: 3. Description of a national electricity crisis scenario A detailed description of each scenario should be completed, such that it fulfils the requirements outlined in Article 5 (2) (b). The fulfillment is necessarry for a right indication of requirements. | Art. 7 3. Description of a national electricity crisis scenario A detailed description of each scenario should be completed, such that it fulfils the requirements outlined in Article 5. (…) | The change has been accepted
Directorate General for Energy Policies Ministry of Energy, Romania | 9 |  | We have a general observation for art. 9: it isn’t clear how art 5 (3) (c) (regarding the simulation of simultaneous scenarious) from Regulation 2019/941 was implemented into methodology. | Art. 9 Evaluation of regional electricity crisis scenarios at a national level | Understanding that simulations related to the likelihood and impact of simultaneous scenarios which is accommodated in the methodology. The text of the methodology has been amended to state how simulations are represented in the methodology
Directorate General for Energy Policies Ministry of Energy, Romania | 11 | 2 | This article doesn’t represent a full implementation of art.6 (Identification of regional electricity crisis scenarios) from R941/2019 but it is necessary for the next article, art. 12. More details are necessary, not just stating that Additional information, including any visualization, may be included in the report. Into a methodology is necessary to be known what shall be done and not what may be done, keeping an uncertainty. | Art. 11 2. (…) Additional information, including any visualization, may be included in the report. | The methodology was adjusted and RCCs and Member States were added.
Directorate General for Energy Policies Ministry of Energy, Romania | General |  | The ENTSO-E Methodology proposal doesn’t provide sufficient information regarding the ranking of risks according to their impact and probability, as provided by the article 5(3)d). Appendix I.1. only provides information regarding crisis scale, which is different than ranking of risks. Article 4 and Appendix II.2, regarding the initiating event list must be further improved. Also, the terms „hazard” and „initiating events” must be defined so that to be clear whether or not they are referring to risks. |  | This was oroginally in Article 1 but has now moved to the whereas. Definitions improved to cover this point
Directorate General for Energy Policies Ministry of Energy, Romania | Whereas |  | (…)In particular the TSOs may seek support from the Member States competent authorities in the identification of all risks to the electricity network at a national level. What does the term ”support” refers to? It should be detailed. | (…)In particular the TSOs may seek support from the Member States competent authorities in the identification of all risks to the electricity network at a national level. | additional text added resulting form comments from DG Ener and also added to the explanatory note.
EDF | General |  | EDF has only general comments on this methodology: The implementation of the Risk-Preparedness Regulation will contribute to an enhanced cooperation between EU Member States, in order both to ensure the optimized use of the installed capacity in Europe and a better coordination in the management of the security of supply. EDF therefore welcomes the all-TSO consultation concerning the methodology to identify the regional electricity crisis scenarios pursuant to article 5 of the Risk-Preparedness Regulation. Concerning the proposed methodology, EDF would like to make the following comments: - The proposed methodology provides for very general information on the process, setting a poorly constrained framework. Some more precise information is required. In particularly article 7 of the methodology does not specify enough the scenarios which are candidates for the regional crisis scenario. - The methodology should specify with more detail how the most relevant scenarios are selected. - A minimum number of crisis scenarios should be identified in compliance with the article 5 of the Regulation which states “the proposed methodology shall identify electricity crisis scenarios”. To make sure that the various types of risks are addressed at regional level, EDF recommends that there should be at least one scenario for each risk. The proposed methodology recalls the hazards on which the scenarios shall be based but does not explain how the crisis scenarios are identified. - Besides, in the phase of identification of the main crisis scenarios, the stakeholders (e.g. market participants) should be at least informed, in order to be able to use this additional information to have better visibility on the risks affecting the stability of the electricity system. - Methodologies to assess risks, regional coordination process, system needs and operational procedures to mitigate risks may differ depending on the type of risk under consideration. For each scenario or each type of scenario, the associated high-level template risk preparedness plan should be specified. There should be at least one scenario considering all the types of risks and not only the most probable ones. - The geographical perimeter of the Expected Energy Not Supplied (EENS) and the Loss of Load Expectation (LoLE) should be specified. A perimeter smaller than the bidding zone could be interesting to highlight a local issue. Moreover, EDF wonders whether the EENS should be multiplied by the energy consumed. |  | The scenarios which are chosen for candidates are determined by the TSO's and competent authroities from a non exhaustive lsit of initiating events provided in the Appendix. This covers at least the minimum required by the regulation. We think it would be counter productive to speculate on the scenarios beforehand in the methodology. The scenarios are ranked nationally and regionally in terms of their crisis rating. Their relevence to the region and member state will be presented by their rating for all scenarios. All scenarios will be presented without selection. The methodology was reviewed to ensure that this is clear. The national scenarios are filtered by the TSO so that only national secnarios that are candidates for a regional scenario are considered, by assessing cross border impact. This will be a subset of the national scenarios. Creating a scenarios for each risk by each TSO and competent authority will end up with most of these being filtered out straight away. We believe this is something for Article 7 of the regulation where national crisis scenarios are identified by the competent authority prior to developing national risk preparedness plans Agreed this is for development by the competent authority in national scenarios and in the national risk preparedness plans The geograhic boundary in the definition of EENS and LOLE is the Member State. In compilation of the regional scenarios we need a comparable regional metric. The prupose is for a regional scenario measure not for the identification of 'local' scenarios
Enel SpA | 5 | 1.b | Paragraph 1. Motivation for defining electricity crisis scenarios states: (b) The process of identifying crisis scenarios at regional and national level requires that a set of assumptions is described (as stated in Appendix I. - Scenario rating scales). These assumptions should be based on considerations of relevant national and regional circumstances. The Enel Group considers that clarification on the meaning of “circumstances” or an exhaustive list of “circumstances” is paramount to ensure that the methodology will be sufficiently flexible to allow national specificities (e.g. the presence of islands, high share of distributed resources, presence of nuclear power in the energy mix, etc) and would remain accurate in the medium term. | (b) The process of identifying crisis scenarios at regional and national level requires that a set of assumptions is described (as stated in Appendix I. - Scenario rating scales). These assumptions should be based on considerations of relevant national and regional circumstances; | This section has been moved to the explanatory note. However Appendix II provides a list of intiating events that can give rise to a national crisis scenario and will allow flexibility for national specifities.
Enel SpA | 5 | 3.a | The methodology should be consistent with what is already written in the Risk Preparedness Regulation Art 7.2: “In identifying the national electricity crisis scenarios, the competent authority shall consult the transmission system operators, the distribution system operators that the competent authority considers to be relevant, the relevant producers or their trade bodies, and the regulatory authority where it is not the competent authority.” Therefore paragraph 3.a should be amended as follows: (a) Each TSO shall share scenario information with ENTSO-E, the relevant producers or their trade bodies and the relevant distribution system operators in accordance with national and EU policies and legislation concerning handling of sensitive information. | (a) Each TSO shall share scenario information with ENTSO-E in accordance with national and EU policies and legislation concerning handling of sensitive information, | The requirements for identifying a regional risk are different in that sharing of sensitive information is required between TSO's this can be managed within the TSO community through ENTSOE. Article 7.2 of RPR is assessing national risk scenarios which the competant authority are managing within their member state.
Enel SpA | 8 | 3 | Article 8 paragraph 3 should be amended as follows: In addition to the aggregation of national scenarios, ENTSO-E shall also consider infrastructure disruption scenarios. At a minimum, this should include scenarios related to the electricity distribution grids and the natural gas supply, as developed by ENTSO-G pursuant to Article 7 of the Regulation (EU) 2017/1938 of the European Parliament and of the Council. Additional scenarios related to connected infrastructure (e.g. gas, ICT) may be considered and included where appropriate, by ENTSO-E in cooperation with the relevant TSOs ,DSOs and the EU DSO. As the electricity networks comprise both transmission and distribution infrastructure and due to the increasing growth of distributed generation, Distribution System Operators will play a major role in managing increasing intermittency and should participate in the crisis scenarios identification. In addition, their participation will also enhance international cooperation between TSOs and DSOs. Furthermore, Distribution system operator’s key role in ensuring a secure, reliable and efficient electricity system is also stated in Articles 31 and 40 of Directive (EU) 2019/944. Putting DSOs broad experience and profound knowledge dealing with electricity crisis at EU’s service, is of extreme importance for ensuring EU’s security of supply. We would like ENTSO-E to include also the participation of the EU DSO entity in the scenarios related to connected infrastructure as it is the organization in charge of the cooperation between DSOs at EU level and, according to the Electricity Regulation, the EU DSO entity shall cooperate with the ENTSO-E and adopt best practices on the coordinated operation and planning of transmission and distribution systems (Article 55). | 3. Inclusion of scenarios related to connected infrastructure In addition to the aggregation of national scenarios, ENTSO-E shall also consider infrastructure disruption scenarios. At a minimum, this should include scenarios related to the natural gas supply, as developed by ENTSO-G pursuant to Article 7 of the Regulation (EU) 2017/1938 of the European Parliament and of the Council. Additional scenarios related to connected infrastructure (e.g. gas, ICT) may be considered and included where appropriate, by ENTSO-E in cooperation with the relevant TSOs. | Infrastrucute to distribution grids are unlikely to be cross border seperately from a tranmsission grid disruption. This is something to consider in National Scenarios under Article 7 of the regulation.
Enel SpA | 9 | 3.a | Article 9 paragraph 3 should be amended as follows: (a) For each Member States the relevant TSOs shall indicate, for their control areas, the likelihood and the impacts on the electricity system of each scenario identified in accordance with Article 8 of this methodology, consistent with the rating scales provided (Appendix I), in terms of Expected Energy Not Supplied (EENS) and Loss of Load Expectation (LOLE). Estimating the likelihood or impact of some scenarios may require a collaboration between TSOs, and their competent authorities as well as the distribution system operators and generators or trade bodies that the competent authority considers to be relevant. As previously said, for coherence with the Risk Preparedness Regulation Art 7.2, in identifying the national crisis scenarios, the competent authority shall consult relevant producers, TSOs and DSOs who are indeed, ultimately liable for safe and reliable operation of the system at national level and, their experience in terms of crisis management is up to now, mainly among these stakeholders. | (a) For each Member States the relevant TSOs shall indicate, for their control areas, the likelihood and the impacts on the electricity system of each scenario identified in accordance with Article 8 of this methodology, consistent with the rating scales provided (Appendix I), in terms of Expected Energy Not Supplied (EENS) and Loss of Load Expectation (LOLE). Estimating the likelihood or impact of some scenarios may require a collaboration between TSOs and their competent authorities; | Infrastrucute to distribution grids are unlikely to be cross border seperately from a tranmsission grid disruption. This is something to consider in National Scenarios under Article 7 of the regulation.
EXELON Ldt. | General |  | ELEXON Limited is a ‘delegated operator’ as defined in the Electricity Regulation of the Clean Energy Package. Our roles include being responsible for balancing mechanism settlement and imbalance settlement and related reporting in Great Britain. We have one observation and a follow-up question. The information provided by TSOs should consider the possibility that cross-border market coupling and/or that European, or local balancing markets in different Member States, may be suspended. This appears to be permitted in the development of national rules pursuant to the Network Code on Emergency and Restoration Chapter IV. In addition, perhaps that the rules of the European balancing platforms may need to cover situations where there has been a crisis in a participating TSO’s control area so preventing the power flows scheduled by those platforms from being physically delivered, including to/from other participating TSOs. Therefore, TSOs and ENTSO-E should be encouraged to consider these aspects when completing their crisis scenario templates as they may affect the evolution of the crisis at both regional and national levels. So our question is: does ENTSO-E consider that the proposed wording of the templates will be sufficient to encourage TSO and ENTSO-e to consider the impact that the operation of national rules for market suspension and of European rules for market de-coupling could have at both national and regional levels in each crisis scenario? Examples. 1) The checklists in Annex III.1 and Annex III.2 both mention the evolution of the crisis scenario. In addition, Annex III.2 gives some aspects to consider. However, in both these Annexes, there is no mention of the impact of the market and market suspension rules on the evolution of the crisis. 2) The cross-border dependencies checklist in Annex III.3 mentions the ‘availability of energy support’, but EU and national market rules affecting this availability of energy support are not explicitly mentioned as a factor to be considered. END |  | Thank you for your comment. We will consider the market issue in the future. this will be further discussed with the TSOs engaged in the Risk Preparedness Goup. Anyhow, the markets should be open any time as much as possible as it is required by the Regulation. That is the aim that we provide wording in the templates is sufficient for the TSO's to consider these scenarios in the evolution of events. This could be as a possible impact of the crisis also in terms if the market IT platforms are unavailable also through loss of IT infrastructure. Refernce added to the explanatory note
Federal Ministry for Sustainability and Tourism (Republic of Austria) (BMNT) | 1 |  | According to Art. 7 of the Risk Preparedness Regulation (RPR), the competent authority of each Member State shall identify the most relevant national electricity crisis scenarios within four months of the identification of the regional electricity crisis scenarios by ENTSO-E. The national electricity crisis scenarios shall be identified on the basis of at least the risks referred to in Article 5(2) RPR and shall be consistent with the regional electricity crisis scenarios identified in accordance with Article 6(1) RPR. However, Art. 5 RPR clearly states that the methodology shall be applied for the identification of regional crisis scenarios. When it comes to the identification of national crisis scenarios in the context of Art. 7 RPR, the competent authority of each Member State is not obliged to use this methodology. This is also referred to in the methodology proposal itself (page 11, footnote 5: “Usage of the components of this methodology in the context of Article 7 of RPR is encouraged, but not required”). Therefore, it is proposed that Art. 1 of the methodology shall be amended as follows, so that it is in line with the wording of the Risk Preparedness Regulation: "Article 1 Subject matter and scope The methodology has been prepared by ENTSO-E in accordance with Article 5 of the RPR and provides the process for identification of the most relevant electricity crisis scenarios at regional level. Subsequently, ENTSO-E shall use the methodology to identify the most relevant electricity crisis scenarios at regional level and update at least every four years as required by Article 6 of the RPR. The national electricity crisis scenarios shall be identified on the basis of at least the risks referred to in Article 5(2) RPR and shall be consistent with the regional electricity crisis scenarios identified in accordance with Article 6(1) RPR, as required by Article 7 of the RPR. Consequently, national competent authorities will use the regional crisis scenarios for establishing risk preparedness plans as required by Article 10 of the RPR." | The methodology has been prepared by ENTSO-E in accordance with Article 5 of the RPR and provides the process for identification of the most relevant electricity crisis scenarios at regional level. Subsequently, ENTSO-E shall use the methodology to identify the most relevant electricity crisis scenarios at regional level and update at least every four years as required by Article 6 of the RPR. The national competent authorities shall thereafter rely on the methodology and regional scenarios, in the identification of electricity crisis scenarios at national level as required by Article 7 of the RPR. Consequently, national competent authorities will use the regional crisis scenarios for establishing risk preparedness plans as required by Article 10 of the RPR. | This was originally in Article 1 but has now moved to the whereas.The whereas has been rewitten to reflect the comments received and remove the phrasing that the "national competent authorities rely on the methodology'.and have proposed alternative wording that avoids saying that.
Federal Ministry for Sustainability and Tourism (Republic of Austria) (BMNT) | 2 | 2 | The “clarification/addition” in Art. 2 paragraph 2 (a) of the methodology, according to which “impossibility to supply electricity to customers” means "any situation in which not all customers can be supplied with energy" goes significantly beyond the definition of “electricity crisis” in Art. 2 (9) of the Risk Preparedness Regulation. According to Art. 2 (9) Risk Preparedness Regulation, ‘electricity crisis’ means a present or imminent situation in which there is a significant electricity shortage, as determined by the Member States and described in their risk-preparedness plans, or in which it is impossible to supply electricity to customers; Therefore, the addition in Art. 2 paragraph 2 (a) in the methodology widens the scope of the definition of “electricity crisis”, since it neglects that the individual Member State determines the degree of electricity shortage that constitutes a crisis. The Risk Preparedness Regulation does not constitute a harmonisation of the term “electricity crisis”. Furthermore, demand side measures should not be excluded from the scope of the methodology as done in Art. 2 paragraph 2 (a). It is therefore proposed to delete Art. 2 paragraph 2 (a). | 2. The following clarifications and additions to the above-mentioned definitions shall apply: (a) ‘impossibility to supply electricity to customers’ means any situation in which not all customers can be supplied with electricity. Customers providing ancillary services in the form of demand side response are out of scope of this methodology; | This definition was deleted as it was not necessary anymore.
Federal Ministry for Sustainability and Tourism (Republic of Austria) (BMNT) | 9 | 3 | In line with Art. 7 of the methodology, according to which national crisis scenarios which are candidates for regional crisis scenarios shall be determined by TSOs in close cooperation with the national competent authority, Art. 9 paragraph 3 (a) shall be amended as follows: "Article 9 Evaluation of regional electricity crisis scenarios at a national level 3. Assessment of national impacts (a) For each Member State the relevant TSOs – in close cooperation with the national competent authority - shall indicate, for their control areas, the likelihood and the impacts on the electricity system of each scenario identified in accordance with Article 8 of this methodology, consistent with the rating scales provided (Appendix I), in terms of Expected Energy Not Supplied (EENS) and Loss of Load Expectation (LOLE)." Further explanation: Since Art. 7 of the methodology foresees a cooperation between TSOs and the respective national competent authority in the determination of national crisis scenarios and ENTSO-E identifies regional crisis scenarios on the basis of these national scenarios, the TSOs shall also cooperate with the national competent authority regarding the assessment of likelihood and impact of regional crisis scenarios at national level. | 3. Assessment of national impacts (a) For each Member States the relevant TSOs shall indicate, for their control areas, the likelihood and the impacts on the electricity system of each scenario identified in accordance with Article 8 of this methodology, consistent with the rating scales provided (Appendix I), in terms of Expected Energy Not Supplied (EENS) and Loss of Load Expectation (LOLE). Estimating the likelihood or impact of some scenarios may require a collaboration between TSOs and their competent authorities; (b) The above evaluation, as already mentioned in Article 6, shall be based on statistical data for the same event or on estimates in the case of a scenario for which there is not enough relevant historical data; (c) The method used for assessment of likelihood and impact must be indicated in the scenario description (as one of: deterministic calculation and probabilistic calculation), together with the number of sub-scenarios taken into account. The probabilistic method is preferred – the assessment done using such method shall typically be considered more reliable and accurate | This was adjusted by previous reviews and is now changed
Regulatory Authority for Energy (RAE), Greece | 3 |  | 3. Cross border dependency: When there is an impact on several countries, that one neighboring country will this be captured with your scale? |  | The identification of cross border impacts increases the crisis scenario rating : it is integrated as a multiplicating factor in the rating (c.f. Appendix).
Regulatory Authority for Energy (RAE), Greece | 13 |  | 1. Regarding the confidentiality of the risks acknowledged in a national or regional level, has there been any discussion on that? |  | This is covered in the methodology. ACER has the view that the level of data exchange should be at least the same as that shared through existing coordination processes for coordinated security assessments carried out by the RSCʼs. The data will only shared internally within ENTSOE and we are putting in place appropriately secure means of data file transfer.
Regulatory Authority for Energy (RAE), Greece | AI | 1 | 2. Crisis likelihood scale : - I do not agree with the example , I thing it should not refer at all to impacts only to probabilities. (ex potentially huge impact) -will impact assessment be performed by experts judgement? . -Will we get any help for the assignment of probability on ex. cyberattacks scenarios |  | The exampe has been changed to remove refernce to impact from the table. The impact assessment and likelihood will be performed by experts judgement at the TSO and competent authority or other national body expert A recommendation from the EC DG Energy was to include in the methodology that the competent authority should consult with other expert bodies such as national defence bodies to identify risks. Other bodies should be consulted for expert opinion example of ENISA included in explanatory note
Regulatory Authority for Energy (RAE), Greece | General |  | 4. For the scenarios will the TSOs (along with the CAs)will decide on timing of the crisis scenarios and duration of scenario? |  | Yes this is part of the information that is required in the scenario description template.Yes as a part of the scenario description returned by the TSO to ENTSOE will describe the time of occurrence and the duration.